## Sheet1
GRIHA V 2015 feasibility checklist
Please note: several criteria in this feasibility sheet has fixed dropdowns. For those criteria, please select the points being attempted through selecting the correct option from the drop down.
Cr. No. | Criterion name |  | Max Points | Points Attempted
Site Planning |  |  | 8 | 0
1 | Site Selection
| The site plan must be in conformity with the development plan/master plan/UDPFI guidelines (mandatory). This should comply with the provisions of eco-sensitive zone regulations, coastal zone regulations, heritage areas (identified in the master plan or issued separately as specific guidelines), water body zones (in such zones, no construction is permitted in the water-spread and buffer belt of 30 meter minimum around the FTL), various hazard prone area regulations, and others if the site falls under any such area (mandatory with no point allocation). |  | 0
| The project site is a brownfield site OR a redevelopment project OR there are at least 5 basic services (from the list given in GRIHA) within the campus or within 500m walking distance from main entrance of project. |  | 1 | 0
| Criterion Total |  | 1 | 0
2 | Low-impact design
| Reduction in environmental impact through design by adoption of various passive design and low-impact site planning strategies. |  | 4 | 0
| Select the number of strategies adopted : | 
| Criterion Total |  | 4 | 0
3 | Design to mitigate UHIE
| The percentage of total site area (visible to sky but not including the landscape area) which is either soft paved AND/OR covered with SRI coating > 0.5 AND/OR shaded by trees/vegetated pergolas/solar panels AND/OR any combination of these strategies |  | 2 | 0
| Select one of the below options : | 
| Criterion Total |  | 2 | 0
4 | Site imperviousness factor
| Net Imperviousness factor of site meets the NBC 2005 norms |  | 1 | 0
| Criterion Total |  | 1 | 0
Construction Management |  |  | 9 | 0
5 | Air and water pollution control
| At least 3 measures adopted (from the list given in GRIHA) on site to curb air pollution during construction |  | 0
| Develop and implement a spill prevention plan (to control effects of spill from hazardous materials like bitumen, diesel etc.) on site |  | 1 | 0
| Criterion Total |  | 1 | 0
6 | Preserve and protect landscape during construction
| Applicability Check: There are existing mature trees on site that can be preserved |  | yes
| Applicability Check: Top soil is fertile or can be made fertile through organic means |  | yes
| All existing mature trees on site are preserved OR transplant mature trees within the site and ensure they survive OR Plant 3 trees for every 1 tree cut of the same native/naturalized species OR any combination of these for all mature trees on site |  | 0
| Increase total number of trees on site by 25% above the pre-construction phase OR Plant 4 trees for every 1 tree cut of the same native/naturalized species |  | 2 | 0
| Preserve top soil during construction, maintain its fertility (during construction phase) and use for landscape post-construction |  | 2 | 0
| Criterion Total |  | 4 | 0
7 | Construction Management Practices
| Implement staging during construction on site |  | 1 | 0
| Adopt strategies to prevent/reduce movement of soil (not top soil) outside the site through adoption of various strategies (like soil erosion channels, sedimentation control etc.) |  | 1 | 0
| Adopt strategies (at least 3 from the list) to manage construction water |  | 1 | 0
| A construction waste management plan for segregation of construction waste, its safe storage and on-site/off-site recycling is developed and implemented in the project |  | 1 | 0
| Criterion Total |  | 4 | 0
Energy |  |  | 20 | 0
8 | Energy efficiency
| Applicability Check There are Air Conditioned buildings in the project |  | yes
| The project meets the mandatory requirements of ECBC & all fans must be BEE star rated |  | 0
| Peak heat gain through building envelope (for each AC building individually) should meet the GRIHA Building Envelope Peak Heat Gain Factor thresholds |  | 2 | 0
| 100% of outdoor lighting lamps meet the luminous efficacy requirements of GRIHA |  | 1 | 0
| The project EPI (determined through simulations) is below the GRIHA benchmark |  | 0
| Reduction in project EPI against the GRIHA baseline : |  | 10 | 0
| Criterion Total |  | 13 | 0
9 | Renewable energy utilization
| Would you select Alternative 1 or Alternative 2? |  | Alternative 1
| Alternative 1: On-site/Off-site renewable energy system installation to offset a part of the annual energy consumption of internal artificial lighting and HVAC systems (Mandatory requirements must be met through On-site renewable energy system) |  | 7 | 0
| Please select the building typology from the following : | 
| Percentage of annual energy consumption of internal artificial lighting and HVAC systems offset through use of renewable energy: | 
| Alternative 2: Off-site renewable energy system to offset 100% building energy demand |  | 0
| Criterion Total |  | 7 | 0
10 | Low ODP materials
| All the insulation used in building should be CFCs and HCFCs free |  | 0
All the refrigerant in the HVAC and refrigeration equipment should be CFCs free
The fire suppression systems and fire extinguishers installed in the building are free of halon
| Criterion Total |  | 0
Occupant comfort and Well-being |  |  | 12 | 0
11 | Achieving indoor comfort requirements (visual/thermal/acoustic)
| Comply with either of the two strategies to demonstrate reduction in heat gain through fenestrations and provision of sufficient daylight in indoor living areas |  | 0
| Would you select Alternative 1 or Alternative 2? |  | Alternative 1
| Daylight Alternative 1 |  |  | 0
| The WWR and SRR to not exceed 60% and 5% respectively &; All the fenestrations meet the SHGC requirement of ECBC-2007/Weighted Façade average SHGC meets SHGC requirements of ECBC-2007 OR Alternatively use Tables 9 & 10 of SP 41 to design the shading device for the windows OR Conduct solar path analysis for windows of AC as well as non-AC spaces, to ensure that the window is completely shaded for the duration between 10:00 am on 1st April to 15:00 on 30th September OR Any combination of the above strategies on 100% of the fenestrations |  | 0
| Minimum of 25% of the living area should meet adequate level of daylight (daylight factors) as prescribed in SP 41 |  | 0
| Adequate daylight factors are achieved in more than 50% of total living area |  | 2
| Adequate daylight factors are achieved in more than 75% of total living area |  | 4
Daylight Alternative 2
| The mean DA requirements (300 lux or more) are met over the total living area for at least 25% of total annual analysis hours (annual analysis hours – 800 to 1800 each day) The mean DA requirements (3000 lux or more) are never exceeded over the total living area for across the total annual analysis hours (annual analysis hours – 800 to 1800 each day) |  | 0
| The mean DA requirements (300 lux or more) are met over the total living area for at least 50% of total annual analysis hours (annual analysis hours – 800 to 1800 each day) |  | 0
| The mean DA requirements (300 lux or more) are met over the total living area for at least 75% of total annual analysis hours (annual analysis hours – 800 to 1800 each day) |  | 0
| Artificial lighting design to fall within limits (lower and higher range limits) as recommended for space/task specific lighting levels as per NBC and to meet a minimum uniformity ratio of 0.4 |  | 0
| The thermal comfort requirements of NBC 2005 OR ASHRAE 55 OR requirements of Indian Adaptive Comfort Model as mentioned in Appendix 1 must be met |  | 0
| The indoor noise levels are within the acceptable limits as specified in NBC 2005 and key noise source on site (like DG sets, chiller plants etc.) should have sufficient acoustic insulation as per NBC 2005 norms |  | 2 | 0
| Criterion Total |  | 6 | 0
12 | Maintaining good IAQ
| Applicability Check The project has non - AC spaces/ residential spaces with operable windows |  | no
| Meet the minimum requirements of •CPCB National Ambient Air Quality Standard (NAAQS)for quality of fresh air; and •ASHRAE Standard 62.1–2010, Sections 4–7, Ventilation for Acceptable Indoor Air Quality (with errata), or a NBC-2005 for quantity of fresh air |  | 2 | 0
| Monitoring the CO2, temperature and RH at the occupied spaces or at AHUs for the air conditioned spaces |  | 2 | 0
| Criterion Total |  | 4 | 0
13 | Use of low-VOC paints and other compounds in building interiors
| All interior paints are low-VOC and lead-free |  | 1 | 0
| All adhesives and sealants used shall be low-VOC & that interior composite wood-products do not use urea-formaldehyde as a bonding resin |  | 1 | 0
| Criterion Total |  | 2 | 0
Water |  |  | 17 | 0
14 | Use of low-flow fixtures and systems
| Applicability Check All faucets, which are installed in spaces have water head heights greater than 5 m / 17 feet, in a gravity fed systems (without pressure reduction) are exempt from calculations in this criterion |  | yes
| Reduction in water demand through selection of low-flow fixtures by 30% below the GRIHA base case |  | 0
| Reduction in water demand through selection of low-flow fixtures by 50% below the GRIHA base case |  | 2 | 0
| Reduction in water demand through selection of low-flow fixtures by 70% below the GRIHA base case |  | 4
| Criterion Total |  | 4 | 0
15 | Reducing landscape water demand
| Reduction in landscape water demand from the GRIHA base case : |  | 4 | 0
| Criterion Total |  | 4 | 0
16 | Water Quality
| Applicability Check Total waste water generated on site is more than 10 clad |  | yes
| Water used for various purposes like drinking, irrigation etc. shall conform to the BIS standards |  | 0
| The STP & ETP installed on site meets the CPCB norms |  | 2 | 0
| Criterion Total |  | 2 | 0
17 | On-site water reuse
| Percentage self sufficiency of the project in the annual water requirement (for domestic use, buildings, landscape and utilities) : |  | 5 | 0
| Criterion Total |  | 5 | 0
18 | Rainwater Recharge
| Applicability Check The CGWB norms suggest that the ground water table is high and ground water recharging should not be done |  | no
| Recharge of surplus rainwater into aquifer (through appropriate filtration measures) |  | 2 | 0
| Criterion Total |  | 2 | 0
Sustainable Building Materials |  |  | 14 | 0
19 | Utilization of BIS recommended waste materials in building structure
| Minimum 15% replacement of OPC with fly ash or any BIS recommended waste by weight of cement used in structural concrete |  | 1 | 0
| Minimum than 25% replacement of OPC with fly ash or any BIS recommended waste by weight of cement used in structural concrete |  | 2
| Minimum 40% of materials (by volume) in building blocks/bricks should be fly ash or any BIS recommended waste, for 100% load bearing and non-load bearing walls |  | 2 | 0
| Minimum 15% replacement of OPC with fly ash or any BIS recommended waste in plaster/masonry mortar |  | 1 | 0
| Minimum than 25% replacement of OPC with fly ash or any BIS recommended waste in plaster/masonry mortar |  | 2
| Criterion Total |  | 6 | 0
20 | Reduction in embodied energy of building structure
| Select the percentage reduction in combined embodied energy of structure and masonry walls : |  | 4 | 0
| Criterion Total |  | 4 | 0
21 | Use of low-environmental impact materials in building interiors
| Percentage of interior materials (calculated by surface area) which meet the GRIHA requirements for low-impact materials : |  | 4 | 0
| Criterion Total |  | 4 | 0
Solid Waste Management |  |  | 6 | 0
22 | Avoided post-construction landfill
| Multi-coloured dustbins/different garbage chutes have been provided to building occupants to ensure segregation of waste at source |  | 4 | 0
Dedicated, segregated and hygienic storage spaces in the project site to store different wastes before treatment /recycling
Contractual tie-ups with waste recyclers for safe recycling for recyclable wastes like metal, paper, plastic, glass etc.
| Criterion Total |  | 4 | 0
23 | Treat organic waste on site
| Applicability Check Total waste generation on site is equal to or more than 100 kg/day |  | yes
| Strategies to treat all organic (kitchen and landscape) waste on-site and to convert it into a resource (manure, biogas etc.) |  | 2 | 0
| Criterion Total |  | 2 | 0
Socio-Economic Strategies |  |  | 6 | 0
24 | Labour safety and sanitation
| Applicability Check Families are allowed to live and work at construction sites |  | yes
| The projects complies with the NBC (2005) safety norms for providing the necessary safety equipment and measures for construction workers |  | 0
| Provisions for drinking water, hygienic working & living conditions and sanitation facilities provided for the workers |  | 0
| Crèche facility for children of construction workers |  | 1 | 0
| Criterion Total |  | 1 | 0
25 | Design for Universal Accessibility
| The project complies with National Building Code norms on Requirements for Planning of Public Buildings Meant for Use of Physically Challenged |  | 2 | 0
| Criterion Total |  | 2 | 0
26 | Dedicated facilities for service staff
| Dedicated resting rooms for the service staff have been provided in the project |  | 1 | 0
| Toilets for the service staff have been provided in the project |  | 1 | 0
| Criterion Total |  | 2 | 0
27 | Increase in environmental awareness
| Measures adopted to create environmental awareness |  | 1 | 0
| Criterion Total |  | 1 | 0
Performance Monitoring & Validation |  |  | 8 | 0
28 | Smart metering and monitoring
| The project complies with Basic metering requirements of GRIHA |  | 0
| The project complies with Extended metering requirements as mentioned in GRIHA |  | 2 | 0
| Installation of one-way communicable Smart metering and monitoring system capable of tracking energy and water consumption through a web hosted portal and (also capable of the list mentioned in Appraisal 28.1.3), for at least all meters mentioned in Appraisal 28.1.1 in GRIHA |  | 3 | 0
| Connect to GRIHA IT platform (linked to smart metering) to allow for two way communication on the list mentioned in Appraisal 28.1.4 |  | 3 | 0
| Criterion Total |  | 8 | 0
29 | Operation & Maintenance Protocols
| Provision for a core facility/service group responsible for the O&M of the building’s systems after installation as per GRIHA requirements. Inclusion of a specific clause in the contract document of the systems supplier for providing training to the core facility/ service group responsible for the O&M of the building systems after installation, on the operating instructions/dos and don’ts/ maintenance requirements for the specific system, as per GRIHA requirements. Development of a fully documented O&M manual/ CD/ Multimedia /information brochure enlisting the best practices for O&M of the building’s systems as per GRIHA requirements |  | 0
| Criterion Total |  | 0 | 0
30 | Performance Assessment for Final Rating
| The energy systems, water systems and solid waste management systems of the building are performing as predicted and match the information provided at the time of award of provisional GRIHA rating |  | 0
| The visual, thermal and acoustic comfort conditions of the building meet the requirements of GRIHA Criterion 11 |  | 0
| Any improvement in the following 4 parameters can be attempted by the project, post-GRIHA Provisional Rating, in order to improve its overall GRIHA points tally: •Design to mitigate UHIE – Criterion 3 •Renewable energy installation – Criterion 9 •Noise levels – Criterion 11 •Innovation – Criterion 31 |  | 0 | 0
| Criterion Total |  | 0 | 0
|  |  | 100 | 0
31 | Innovation
| Please select the number of innovation strategies attempted by the project : |  | 4 | 0
| Criterion Total |  | 4 | 0
Total |  |  | 0
Total (Percentile) |  |  | 0
| Section Wise Break up |  | Max Points | Points Attempted
| Site Planning |  | 8 | 0
| Construction Management |  | 9 | 0
| Energy |  | 20 | 0
| Occupant comfort and Well-being |  | 12 | 0
| Water |  | 17 | 0
| Sustainable Building Materials |  | 14 | 0
| Solid Waste Management |  | 6 | 0
| Socio-Economic Strategies |  | 6 | 0
| Performance Monitoring & Validation |  | 8 | 0
| Innovation |  |  | 0
|  |  | 100 | 0

## Sheet2
Site Planning | 6
Water | #REF!
Energy | #REF!
Sustainable Building Materials
Construction Management
Solid Waste Management
Indoor Air Quality | #REF!
Socio-Economic Strategies

## Sheet3
CRITERIA
9 |  | Category | Daytime_Commercial/Institutional_Building | Residential Building | 24 X 7 occupied building | Mixed Building | Points
|  | Please select the building typology from the following : | Percentage of annual energy consumption of internal artificial lighting and HVAC systems offset through use of renewable energy: | Percentage of annual energy consumption of internal artificial lighting and HVAC systems offset through use of renewable energy: | Percentage of annual energy consumption of internal artificial lighting and HVAC systems offset through use of renewable energy: | Percentage of annual energy consumption of internal artificial lighting and HVAC systems offset through use of renewable energy:
| yes | Daytime Commercial/Institutional Building | 2.5% (only on site) - Mandatory - 0 points |  | 0.5% (only on site) - Mandatory - 0 points | Mandatory percentage dependent upon area of non-residential spaces (only on site) - Mandatory - 0 points | 0 | Alternative 1
| no | Residential Building | Not Attempting - 0 points | Not attempting - 0 points | Not attempting - 0 points | Not attempting - 0 points | 0 | Alternative 2
|  | 24 X 7 occupied building | 5% - 1 point | 5% - 1 point | 1% - 1 point | RE % - 1 point | 1
|  | Mixed Building | 10% - 2 points | 10% - 2 points | 3% - 2 points | RE % - 2 points | 2
|  |  | 15% - 4 points | 15% - 4 points | 5% - 4 points | RE % - 4 points | 4
|  |  | 20% - 5 points | 20% - 5 points | 7% - 5 points | RE % - 5 points | 5
|  |  | 25% - 7 points | 25% - 7 points | 10% - 7 points | RE % - 7 points | 7
|  | Please select the building typology from the following : | -
|  | Daytime Commercial/Institutional Building | one | points | yes
|  | Residential Building | two | points | no
|  | 24 X 7 occupied building | three | points
|  | Mixed building | four
2 |  | Select the number of strategies adopted :
Not attempting
2 strategies adopted - 1 point
3 strategies adopted - 2 points
4 strategies adopted - 4 points
8 |  | Reduction in project EPI against the GRIHA baseline :
Not attempting
More than 10% reduction - 2 points
More than 20% reduction - 3 points
More than 30% reduction - 5 points
More than 40% reduction - 7 points
More than 50% reduction - 10 points
31 |  | Please select the number of innovation strategies attempted by the project :
Not attempting
1 innovation strategy attempted - 1 point
2 innovation strategies attempted - 2 points
3 innovation strategies attempted - 3 points
4 innovation strategies attempted - 4 points
21 |  | Percentage of interior materials (calculated by surface area) which meet the GRIHA requirements for low-impact materials :
Not attempting
At least 25% - 1 point
At least 50% - 2 points
At least 75% - 4 points
20 |  | Select the percentage reduction in combined embodied energy of structure and masonry walls :
Not attempting
At least 10% below base case - 1 point
At least 20% below base case - 2 points
At least 30% below base case - 4 points
17 |  | Percentage self sufficiency of the project in the annual water requirement (for domestic use, buildings, landscape and utilities) :
Not attempting
At least 20% - 1 point
At least 40% - 2 points
At least 60% -4 points
At least 80% - 5 points
3 |  | Select one of the below options :
Not attempting
More than 25% - 1 point
More than 50% - 2 points
15 |  | Reduction in landscape water demand from the GRIHA base case :
Not attempting
At least 30% - 1 point
At least 40% - 2 points
At least 50% - 4 points